## Family
System value
sys_id | 8517
Family Name | Notor
Family Description | Fagerhult’s classic interior luminaire Notor is available in several versions for suspended, surface mounted or recessed installation. Notor is an obvious choice in circumstances when there is a desire to create long, unbroken lines of light. Discreet or striking – it is simple to adapt the nature of the lighting with the architecture in mind. <br><br> <b>Notor 65</b><br> Notor 65 is ideal for use in workplaces with regard to the requirements of the EN-12464–1 standard. As the name implies, the cross-section is 65x65 mm and with this, we can achieve so much more. Choose between different light distributions with direct, direct/indirect, indirect light or asymmetric light. The luminaire is available with Beta Opti, Delta or Opal louvres. <br> Like other members of the Notor concept, Notor 65 can be constructed as long continuous installations. For continuous installation, we have developed a solution for the joints between the louvres so the light opening is not disturbed by an interruption or light leakage. Using Notor 65 Control Track Unit, a unit for mounting spotlights, in a continuous installation allows additional accent lighting. <br>All luminaires are available in module lengths 800, 1200 or 2400 mm in white or natural anodised aluminium. <br>With its controlled light distribution, Notor 65 Asymmetrical is ideal for lighting whiteboards. The luminaire creates a high light comfort with a soft gradient between illuminated and unlit surfaces. <br><br> <b>Notor 78</b><br> Notor 78 has a cross-section of 78x78 mm and is more of a workplace luminaire with direct/indirect light distribution in combinations of 70/30, 50/50 or 30/70. The direct light is equipped with a Delta louvre and the indirect light with a technical film that increases the spread of light to avoid bright spots on the ceiling. Notor 78 is available in several different luminous fluxes for a well adapted lighting design. <br><br> The luminaires are available in lengths of 1200 or 2400 mm and, like other members of the Notor concept, Notor 78 can be constructed as long continuous installations. Notor 78 is available in white or natural anodised aluminium.

## Product
Field name on web ENG | Field name on web SE |  | System value
|  | sys_id | 21402
|  | sys_fieldset | IndoorHC
|  | Product Name | Notor 65 Beta Opti
|  | Product Preamble | Suspended or ceiling-mounted workplace luminaire with direct or direct/indirect light. Beta Opti louvres provide high efficiency and optimal lighting comfort. Single or continuous installation.
Installation | Montage | Product Installation | Single or continuous installation via wire suspension or surface mounted. Installation via wire suspension requires wire brackets which provide flexible c/c, see accessories. Can also be wall mounted with special brackets, see Accessories.
Product Description
Connection | Anslutning | Product Connection | The luminaire is equipped with an access hole for cabling on the top. A special short end with cable entry is used for a surface mounted mains cable, see Accessories. The luminaire unit is equipped with a through-wiring cable (5x1.5 mm²) and a snap-in connection in each end-cap. In a continuous installation, the luminaire row should always begin with a start luminaire.
Design | Utförande | Product Design | Luminaire body enameled in white (RAL 9016) or natural anodised, extruded aluminium finish. The indirect light is covered by an opal film which generates a wide beam and acts as a dust cover. End caps are included in the Start/Single-luminaire.
Louvre | Bländskydd | Product Louvre | <i>Beta Opti</i> – double parabolic reflector louvre with satin matt metallised aluminium side and cross-blades with an integrated opal film that minimises the risk of uncomfortable glare from the diodes
Emergency lighting | Nödljus | Product Emergencylighting | There is a unit with integrated emLED available for Notor 65, see Accessories.
Dimming | Ljusstyrning | Product Dimming | CLO (Constant Light Output) and DALI/Phase-pulse control as standard. Suffix number -442 och -449 only refer to single luminaires. <br> <i>e-Sense Active</i> – PIR sensor with presence and daylight control via DALI. <br><i>e-Sense Organic G3</i> – PIR sensor with presence and daylight control. All luminaires have master/slave functionality with IR communications. Suffix number -533 only refer to single luminaires.<br> <br>Unit for e-Sense Organic G3 lighting control ordered separately, see accessories.<br> The e-Sense Organic G3 unit is connected as a start luminaire, with a maximum of 2 luminaires connected to each side. To include end-caps, one of the luminaires should be a start luminaire and the other continuous. See assembly instructions for more information.
Accessories | Tillbehör | Product Accessories | Assembly fittings and supplementary components, see Accessories.
Miscellaneous | Övrigt | Product Miscellaneous | CLO (Constant Light Output) maintains the correct light from the luminaire for the duration of its rated life.<br></br>The LEDs are protected against contact. <br>Ra (CRI) 90 on request. <p>To calculate how many luminaires and accessories you will need to complete a run, please use our <a href ="http://tools.fagerhult.com/notor-configurator/public/index.html" target=_blank> <b>configurator</a></b>.</p>
|  | Product GeneralInfo | LL=Low Lumen <br>HL=High Lumen</br><br>For exact lengths, please refer to the dimension drawing.</br>

## Item
Field name on web ENG | Field name on web SE | System name | System value
|  | sys_id | 21375
Miscellaneous | Övrigt | ItemExtra_en-GB | HL, 1 pull dim
ItemDescription_en-GB
ItemSymbol
Art.no. | Best. nr | ItemCatalogNo | 13311-449
|  | ItemEAN | 7320046631772
|  | ItemJeevesDescription | NOTOR65 BETAOPTI PEND 1200 DI HL 840 ALU START/SINGLE
|  | ItemPAM | PBJ
|  | ItemProductFamilySubgroup | A1 LD Notor65 Betaopti
|  | ItemMainRange | True
|  | ItemStatusJEEVES | 0
|  | ItemReleaseDateJEEVES | 12/2/2019 12:00:00 AM
ItemObsoleteDateJEEVES
|  | ItemBrand | Fagerhult
Louvre | Bländskydd | ItemLouvre | Beta Opti
Colour | Färg | ItemColour | Anodised
RAL | RAL | ItemRAL
Reflector | Reflektor | ItemReflector2
Lens | Lins | ItemLens
Diffuser | Kupa | ItemDiffuser
Protective glass | Skyddsglas | ItemProtectiveGlass
Weight, kg | Vikt, kg | ItemWeight | 2.8
Length, mm | Längd, mm | ItemLength | 1328
Width, mm | Bredd, mm | ItemWidth | 65
Height, mm | Höjd, mm | ItemHeight | 65
Diameter, mm | Diameter, mm | ItemDiameter
Max. post height, m | Max. stolphöjd, m | ItemMaxPostHeight
Module | Modul | ItemModule | 1200
Connection | Anslutning | ItemConnection
Installation | Montage | ItemInstallation | Single
Light control | Ljusstyrning | ItemLightControl | PhasePulse
Projected wind area, m2 | Projicerad vindyta | ItemProjectedwindarea
Tilt, ° | Tilt, ° | ItemTilt
Turn, ° | Vrid, ° | ItemTurnTilt
Class | Klass | ItemClass | 1
IK rating | IK klass | ItemIkRating
IP rating | IP klass | ItemIpRating | 20
| IP ovan undertak | ItemIPRating2
Corrosion class | Korrosionsklass | ItemCorrosionClass
Min. ambient temperature, °C | Min. omgivningstemp, °C | ItemMinimumAmbientTemperature | -25
Max. ambient temperature, °C | Max. omgivningstemp, °C | ItemMaximumAmbientTemperature | 25
Brand of driver | Driverfabrikat | ItemProducerDriver | Tridonic
MCB B10A | MCB B10A | ItemMcbB10A | 13
MCB B16A | MCB B16A | ItemMcbB16A | 22
MCB C10A | MCB C10A | ItemMcbC10A | 21
MCB C16A | MCB C16A | ItemMcbC16A | 36
Switch control, max no. | Faspuls, max antal | ItemSwitchControlMaxNumber | 25
PWM, Hz | PWM Hz | ItemPWM
Power on last level | Minnesfunktion (i driftdon) | ItemPowerOnLastLevel | True
Corridor function | Korridorfunktion | ItemCorridorFunction | True
Standby W | Stand-by W | ItemStandbyEffect | 0.15
Rated supply voltage, V | Märkspänning, V | ItemRatedSupplyVoltage | 220-240
Mains frequency, Hz | Max frekvens, Hz | ItemMainsFrequency | 0, 50, 60
Potted driver | Fuktskyddad driver | ItemPottedDriver | NA
ItemLightsourceEffect
W | W | ItemEffect
System wattage start, W | W (start) | ItemSystemStartEffect | 43
Average W | W (medel) | ItemAverageW | 45
End W | W (slut) | ItemEndW | 48
| THD, % | ItemTHD | 7
NTC function | NTC funktion | ItemNTCfunction | NA
Power factor, 100 % | Effektfaktor vid 100 % ljusflöde | ItemPowerFactor100 | 0.97
Power factor, 50 % | Effektfaktor vid 50 % ljusflöde | ItemPowerFactor50
Surge protection CM, kV/kA | Överspänningsskydd, CM, kV/kA | ItemSurgeProtectionCM | 2
Surge protection DM, kV/kA | Överspänningsskydd, DM, kV/kA | ItemSurgeProtectionDM | 1
Adapter | Adapter | ItemAdapter
AM | Am | ItemAM | True
PWM | PWM | ItemPWM2 | NA
| Läckström | ItemCurrentLeakage
| SVM | ItemSVM
| PstLM | ItemPstLM
Light distribution | Ljusfördelning | ItemLightdistribution | Dir/ind.
Lumen output | Ljusflöde, lm | ItemLumenOutput | 6084
lm/W | lm/W | ItemlmW2 | 141
lm/m | lm/m | ItemlmM
Rf fidelity index | Rf fidelity index | ItemRfFidelityIndex
Rg gamut index | Rg gamut index | ItemRgGamutIndex
Lumen maintenance L70 B10, h | Bibehållning ljusflöde L70 B10, h | ItemLumenL70B10
Lumen maintenance L70 B50, h | Bibehållning ljusflöde L70 B50, h | ItemLumenL70B50
Lumen maintenance L80 B10, h | Bibehållning ljusflöde L80 B10, h | ItemLumenL80B10
Lumen maintenance L80 B50, h | Bibehållning ljusflöde L80 B50, h | ItemLumenL80B50
Lumen maintenance L90 B10, h | Bibehållning ljusflöde L90 B10, h | ItemLumenL90B10
Lumen maintenance L90 B50, h | Bibehållning ljusflöde L90 B50, h | ItemLumenL90B50
Lumen maintenance at 50.000 h | LLMF vid 50.000 timmar | ItemLumenMaintenance50000h | 1
Photometric code | Fotometrisk kod | ItemPhotometricCode
Life time LED driver max 10 % failure, h | Livslängd driver, h | ItemDriveLife | 100000/10
CLO function on | Konstant ljusflöde (CLO) | ItemCLO | True
CLO time, h | CLO, h | ItemCloH | 50000
SDCM | SDCM | ItemSDCM | 3
Light source | Ljuskälla | ItemLightSource | LED
CRI | Ra | ItemRa | 80
CCT, K | CCT, K | ItemCCT | 4000
Tunable White | Tunable White | ItemTw | NA
Tunable White colour range, K | Tunable White färgtemperaturintervall, K | ItemTwRange
RGB | RGB | ItemRGB | NA
Light Source Colour | Färg ljuskälla | ItemLightSourceColour
| Färgat ljus | ItemLedColor
No. of LEDs | Antal LEDs | ItemNoofLEDs
Beam angle, ° | Spridningsvinkel, ° | ItemDegrees
Luminance class | Lum.kod | ItemLuminanceClass
Number of light units | Antal ljusenheter | ItemNumberOfLightUnits
Light Emitting Surface | Ljusavgivande yta | ItemLightEmittingSurface
UGR | UGR | ItemUGR
| Bibehållning ljusflöde L100 B10, h | ItemLumenL100B10
Lumen maintenance L100 B50, h | Bibehållning ljusflöde L100 B50, h | ItemLumenL100B50 | 50000
| 35 000 h | Item35kh
| 50 000 h | Item50kh
| 75 000 h | Item75kh
| 100 000 h | Item100kh
| Antal Dali-adresser | ItemNoDaliAddresses
| Livslängd driver, 2h / % | ItemDriveLife2
| DALI Device type driver | ItemDaliDevType
| DALI/generation | ItemDaliGen
Socket | Sockel | ItemSocket

## All items
Field name on web ENG | Field name on web SE | System name | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value | System value
Empty field = not shown on web | Empty field = not shown on web | sys_id | 21375 | 21363 | 182 | 183 | 185 | 186 | 190 | 191 | 192 | 194 | 205 | 223 | 246 | 263 | 312 | 14055 | 14056 | 14057 | 14058 | 14059 | 14060 | 14061 | 14062 | 14063 | 14064 | 14065 | 14066 | 14067 | 14068 | 14069 | 14070 | 14071 | 14072 | 14073 | 14074 | 14075 | 14076 | 14077 | 14078 | 14079 | 14080 | 14081 | 14082 | 14083 | 14084 | 14085 | 14086 | 14087 | 14088 | 14089 | 14090 | 14091 | 14092 | 14093 | 14094 | 14095 | 21322 | 21324 | 21326 | 21328 | 21330 | 21332 | 21334 | 21336 | 21338 | 21340 | 21342 | 21343 | 21346 | 21348 | 21360 | 21365 | 21367 | 21369 | 21372 | 34646 | 34634 | 21390 | 21388 | 21385 | 21383 | 21380 | 21377 | 288 | 166 | 169 | 170 | 171 | 172 | 176 | 179 | 1937 | 8839 | 8852 | 8904 | 8976 | 14096 | 14097 | 14098 | 14099 | 14100 | 14101 | 14102
Miscellaneous | Övrigt | ItemExtra_en-GB | HL, 1 pull dim | LL | HL, 1 pull dim | LL | HL | HL | LL, 1 pull dim | LL, (previously ActiLume) | HL | LL | HL | LL | LL | HL | LL | LL | HL | LL | HL | LL | LL | HL | LL | HL | HL | LL | HL | LL | HL | LL | HL | LL | HL | LL | LL | HL | HL, 1 pull dim | HL, (previously ActiLume) | LL, (previously ActiLume) | HL | LL | LL, 1 pull dim | HL, (previously ActiLume) | HL, 1 pull dim | HL | LL, (previously ActiLume) | LL, 1 pull dim | LL, 1 pull dim | LL | LL, (previously ActiLume) | HL, (previously ActiLume) | HL, 1 pull dim | HL | LL, (previously ActiLume) | LL | LL, 1 pull dim | HL | HL | HL | HL | HL | LL | HL, (previously ActiLume) | HL | LL, 1 pull dim | HL, (previously ActiLume) | HL, 1 pull dim | LL, (previously ActiLume) | LL | HL | LL | LL | LL | HL | LL |  |  | HL, 1 pull dim | HL, (previously ActiLume) | LL, 1 pull dim | HL | LL | LL, (previously ActiLume) | HL | LL | HL | LL | LL | HL | HL | LL | LL |  |  |  |  | HL, 1 pull dim | HL, (previously ActiLume) | LL, (previously ActiLume) | LL, 1 pull dim | HL | LL | HL, (previously ActiLume)
Empty field = not shown on web | Empty field = not shown on web | ItemDescription_en-GB
Empty field = not shown on web | Empty field = not shown on web | ItemSymbol
Art.no. | Best. nr | ItemCatalogNo | 13311-449 | 13360-402 | 13301-449 | 13328-402 | 13301-402 | 13327-402 | 13300-449 | 13300-442 | 13333-402 | 13300-402 | 13321-402 | 13326-402 | 13336-402 | 13325-402 | 13324-402 | 13352-402 | 13351-402 | 13350-402 | 13349-402 | 13348-402 | 13346-402 | 13345-402 | 13344-402 | 13343-402 | 13347-402 | 13342-402 | 13341-402 | 13340-402 | 13339-402 | 13338-402 | 13337-402 | 13320-402 | 13319-402 | 13318-402 | 13316-402 | 13317-402 | 13315-449 | 13315-442 | 13314-442 | 13315-402 | 13314-402 | 13314-449 | 13313-442 | 13313-449 | 13313-402 | 13312-442 | 13312-449 | 13306-449 | 13306-402 | 13306-442 | 13305-442 | 13305-449 | 13305-402 | 13304-442 | 13304-402 | 13304-449 | 13363-402 | 13361-402 | 13359-402 | 13357-402 | 13355-402 | 13354-402 | 13311-442 | 13311-402 | 13310-449 | 13309-442 | 13309-449 | 13308-442 | 13308-402 | 13307-402 | 13362-402 | 13358-402 | 13356-402 | 13353-402 | 13312-402 | 13313-546 | 13315-546 | 13307-449 | 13307-442 | 13308-449 | 13309-402 | 13310-402 | 13310-442 | 13335-402 | 13334-402 | 13331-402 | 13330-402 | 13332-402 | 13329-402 | 13323-402 | 13322-402 | 13312-539 | 13310-533 | 13308-533 | 13312-533 | 13314-533 | 13303-449 | 13303-442 | 13302-442 | 13302-449 | 13303-402 | 13302-402 | 13301-442
Empty field = not shown on web | Empty field = not shown on web | ItemEAN | 7320046631772 | 7320046635640 | 7320046630973 | 7320046632632 | 7320046630959 | 7320046632595 | 7320046630898 | 7320046630911 | 7320046632830 | 7320046630874 | 7320046632359 | 7320046632557 | 7320046632953 | 7320046632519 | 7320046632472 | 7320046635329 | 7320046635282 | 7320046633516 | 7320046633479 | 7320046633431 | 7320046633356 | 7320046633318 | 7320046633271 | 7320046633233 | 7320046633394 | 7320046633196 | 7320046633158 | 7320046633110 | 7320046633073 | 7320046633035 | 7320046632991 | 7320046632311 | 7320046632274 | 7320046632236 | 7320046632151 | 7320046632199 | 7320046632090 | 7320046632113 | 7320046632038 | 7320046632076 | 7320046631994 | 7320046632014 | 7320046631956 | 7320046631932 | 7320046631918 | 7320046631871 | 7320046631857 | 7320046631376 | 7320046631352 | 7320046631390 | 7320046631314 | 7320046631291 | 7320046631277 | 7320046631239 | 7320046631192 | 7320046631215 | 7320046635763 | 7320046635688 | 7320046635602 | 7320046635527 | 7320046635442 | 7320046635404 | 7320046631796 | 7320046631758 | 7320046631697 | 7320046631635 | 7320046631611 | 7320046631550 | 7320046631512 | 7320046631437 | 7320046635725 | 7320046635565 | 7320046635480 | 7320046635367 | 7320046631833 | 7320048521781 | 7320048521927 | 7320046631451 | 7320046631475 | 7320046631536 | 7320046631598 | 7320046631673 | 7320046631710 | 7320046632915 | 7320046632878 | 7320046632755 | 7320046632717 | 7320046632793 | 7320046632670 | 7320046632434 | 7320046632397 | 7320047644023 | 7320047806537 | 7320047806520 | 7320047806544 | 7320047806551 | 7320046631130 | 7320046631154 | 7320046631079 | 7320046631055 | 7320046631116 | 7320046631031 | 7320046630997
Empty field = not shown on web | Empty field = not shown on web | ItemJeevesDescription | NOTOR65 BETAOPTI PEND 1200 DI HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI LL 830 WHT CONT | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 ALU CONT | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 WHT CONT | NOTOR65 BETAOPTI PEND 2400 DI HL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D LL 830 WHT CONT | NOTOR65 BETAOPTI SURF PEND 2400 D HL 840 ALU CONT | NOTOR65 BETAOPTI SURF PEND 2400 D LL 840 ALU CONT | NOTOR65 BETAOPTI SURF PEND 2400 D HL 830 ALU CONT | NOTOR65 BETAOPTI SURF PEND 2400 D LL 830 ALU CONT | NOTOR65 BETAOPTI PEND 1200 DI LL 840 WHT CONT | NOTOR65 BETAOPTI PEND 1200 DI HL 830 WHT CONT | NOTOR65 BETAOPTI PEND 1200 DI LL 830 WHT CONT | NOTOR65 BETAOPTI PEND 1200 DI HL 840 ALU CONT | NOTOR65 BETAOPTI PEND 1200 DI HL 840 WHT CONT | NOTOR65 BETAOPTI PEND 1200 DI LL 840 ALU CONT | NOTOR65 BETAOPTI PEND 1200 DI HL 830 ALU CONT | NOTOR65 BETAOPTI PEND 1200 DI LL 830 ALU CONT | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 WHT CONT | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 WHT CONT | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 WHT CONT | NOTOR65 BETAOPTI SURF PEND 2400 D LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D HL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI HL 840 WHT CONT | NOTOR65 BETAOPTI PEND 2400 DI HL 830 WHT CONT | NOTOR65 BETAOPTI PEND 2400 DI HL 840 ALU CONT | NOTOR65 BETAOPTI PEND 2400 DI HL 830 ALU CONT | NOTOR65 BETAOPTI SURF PEND 2400 D HL 840 WHT CONT | NOTOR65 BETAOPTI SURF PEND 2400 D LL 840 WHT CONT | NOTOR65 BETAOPTI PEND 1200 DI HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI LL 840 WHT CONT | NOTOR65 BETAOPTI PEND 2400 DI LL 840 ALU CONT | NOTOR65 BETAOPTI PEND 2400 DI LL 830 ALU CONT | NOTOR65 BETAOPTI SURF PEND 2400 D HL 830 WHT CONT | NOTOR65 BETAOPTI PEND 1200 DI LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI HL 830 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 ALU CONT | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 ALU CONT | NOTOR65 BETAOPTI PEND 2400 DI HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 2400 DI LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 830 ALU CONT | NOTOR65 BETAOPTI PEND 2400 DI HL 830 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D HL 840 WHT START/SINGLE | NOTOR65 BETAOPTI SURF PEND 2400 D LL 840 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 WHT START/SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 ALU SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 ALU SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 830 WHT SINGLE | NOTOR65 BETAOPTI PEND 1200 DI LL 840 WHT SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D LL 840 ALU START/SINGLE | NOTOR65 BETAOPTI SURF PEND 1200 D HL 830 ALU START/SINGLE
Empty field = not shown on web | Empty field = not shown on web | ItemPAM | PBJ | PBJ | CENI | PBJ | CENI | PBJ | PBJ | PBJ | CENI | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | CENI | PBJ | CENI | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | CENI | CENI | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | CENI | PBJ | PBJ | PBJ | PBJ | PBJ | CENI | CENI | CENI | PBJ | PBJ | PBJ | CENI | PBJ | CENI | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | PBJ | CENI | PBJ | PBJ | PBJ | CENI | PBJ | PBJ
Empty field = not shown on web | Empty field = not shown on web | ItemProductFamilySubgroup | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti | A1 LD Notor65 Betaopti
Empty field = not shown on web | Empty field = not shown on web | ItemMainRange | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True
Empty field = not shown on web | Empty field = not shown on web | ItemStatusJEEVES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 8 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 0 | 8
Empty field = not shown on web | Empty field = not shown on web | ItemReleaseDateJEEVES | 12/2/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 3/31/2017 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 12/2/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 12/2/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 3/31/2017 12:00:00 AM | 12/2/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 11/28/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 11/28/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 12/2/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/29/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 3/6/2020 12:00:00 AM | 3/6/2020 12:00:00 AM | 12/2/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 12/2/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 12/2/2019 12:00:00 AM | 3/31/2017 12:00:00 AM | 3/31/2017 12:00:00 AM | 12/2/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 11/28/2019 12:00:00 AM | 3/31/2017 12:00:00 AM
Empty field = not shown on web | Empty field = not shown on web | ItemObsoleteDateJEEVES | [7 empty] | 10/31/2018 12:00:00 AM | [29 empty] | 10/31/2018 12:00:00 AM | 10/31/2018 12:00:00 AM |  |  |  | 10/31/2018 12:00:00 AM |  |  | 10/31/2018 12:00:00 AM |  |  |  | 10/31/2018 12:00:00 AM | 10/31/2018 12:00:00 AM |  |  | 10/31/2018 12:00:00 AM | [8 empty] | 10/31/2018 12:00:00 AM |  |  | 10/31/2018 12:00:00 AM |  | 10/31/2018 12:00:00 AM | [10 empty] | 10/31/2018 12:00:00 AM |  |  |  | 10/31/2018 12:00:00 AM | [14 empty] | 10/31/2018 12:00:00 AM | 10/31/2018 12:00:00 AM |  |  |  | 10/31/2018 12:00:00 AM
Empty field = not shown on web | Empty field = not shown on web | ItemBrand | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult | Fagerhult
Louvre | Bländskydd | ItemLouvre | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti | Beta Opti
Colour | Färg | ItemColour | Anodised | White | Anodised | White | Anodised | Anodised | Anodised | Anodised | Anodised | Anodised | White | Anodised | White | Anodised | Anodised | White | Anodised | Anodised | Anodised | Anodised | White | White | White | Anodised | White | Anodised | Anodised | Anodised | White | White | White | White | Anodised | Anodised | Anodised | Anodised | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | White | Anodised | Anodised | White | White | Anodised | Anodised | Anodised | Anodised | Anodised | Anodised | Anodised | White | White | Anodised | Anodised | White | White | White | White | White | White | Anodised | Anodised | Anodised | Anodised | Anodised | Anodised | White | White | Anodised | White | White | White | White | Anodised | Anodised | White | White | Anodised | Anodised | Anodised | Anodised | Anodised | Anodised | Anodised
RAL | RAL | ItemRAL |  | 9016 |  | 9016 | [6 empty] | 9016 |  | 9016 |  |  | 9016 |  |  |  |  | 9016 | 9016 | 9016 |  | 9016 |  |  |  | 9016 | 9016 | 9016 | 9016 |  |  |  |  | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 | 9016 |  |  | 9016 | 9016 | [7 empty] | 9016 | 9016 |  |  | 9016 | 9016 |  |  | 9016 | 9016 | [6 empty] | 9016 | 9016 |  | 9016 | 9016 | 9016 | 9016 |  |  | 9016 | 9016
Reflector | Reflektor | ItemReflector2
Lens | Lins | ItemLens
Diffuser | Kupa | ItemDiffuser
Protective glass | Skyddsglas | ItemProtectiveGlass
Weight, kg | Vikt, kg | ItemWeight | 2.8 | 5.5 | 2.6 | 5.6 | 2.6 | 5.6 | 2.6 | 2.6 | 2.5 | 2.6 | 5.4 | 5.6 | 2.5 | 5.6 | 5.6 | 5.3 | 5.3 | 5.3 | 5.3 | 5.3 | 2.7 | 2.7 | 2.7 | 2.7 | 2.7 | 2.7 | 2.7 | 2.7 | 2.5 | 2.5 | 2.5 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 5.5 | 5.5 | 5.5 | 5.5 | 5.3 | 5.3 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.6 | 5.5 | 5.5 | 5.5 | 5.3 | 2.8 | 3.1 | 3.1 | 2.6 | 2.6 | 2.8 | 2.8 | 2.8 | 2.8 | 2.5 | 2.5 | 5.6 | 5.6 | 2.5 | 5.6 | 5.4 | 5.4 | 2.8 | 2.9 | 2.9 | 2.9 | 2.9 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6
Length, mm | Längd, mm | ItemLength | 1328 | 2522 | 1328 | 2528 | 1267 | 2528 | 1328 | 1328 | 1261 | 1267 | 2528 | 2528 | 1261 | 2528 | 2528 | 2522 | 2522 | 2522 | 2522 | 2522 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 1261 | 2528 | 2528 | 2528 | 2528 | 2528 | 1328 | 1328 | 1328 | 1267 | 1267 | 1328 | 1328 | 1328 | 1267 | 1328 | 1328 | 1328 | 1267 | 1328 | 1328 | 1328 | 1267 | 1328 | 1267 | 1328 | 2522 | 2522 | 2522 | 2522 | 2522 | 2522 | 1328 | 1267 | 1328 | 1328 | 1328 | 1328 | 1267 | 1267 | 2522 | 2522 | 2522 | 2522 | 1267 | 1427 | 1427 | 1328 | 1328 | 1328 | 1267 | 1267 | 1328 | 1261 | 1261 | 2528 | 2528 | 1261 | 2528 | 2528 | 2528 | 1328 | 1358 | 1358 | 1358 | 1358 | 1328 | 1328 | 1328 | 1328 | 1267 | 1267 | 1328
Width, mm | Bredd, mm | ItemWidth | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
Height, mm | Höjd, mm | ItemHeight | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
Diameter, mm | Diameter, mm | ItemDiameter
Max. post height, m | Max. stolphöjd, m | ItemMaxPostHeight
Module | Modul | ItemModule | 1200 | 2400 | 1200 | 2400 | 1200 | 2400 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 1200 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 2400 | 2400 | 2400 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 2400 | 2400 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 2400 | 2400 | 1200 | 2400 | 2400 | 2400 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
Connection | Anslutning | ItemConnection
Installation | Montage | ItemInstallation | Single | Continuous | Single | StartSingle | StartSingle | StartSingle | Single | Single | Continuous | StartSingle | StartSingle | StartSingle | Continuous | StartSingle | StartSingle | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | StartSingle | StartSingle | StartSingle | StartSingle | StartSingle | Single | Single | Single | StartSingle | StartSingle | Single | Single | Single | StartSingle | Single | Single | Single | StartSingle | Single | Single | Single | StartSingle | Single | StartSingle | Single | Continuous | Continuous | Continuous | Continuous | Continuous | Continuous | Single | StartSingle | Single | Single | Single | Single | StartSingle | StartSingle | Continuous | Continuous | Continuous | Continuous | StartSingle | StartSingle | StartSingle | Single | Single | Single | StartSingle | StartSingle | Single | Continuous | Continuous | StartSingle | StartSingle | Continuous | StartSingle | StartSingle | StartSingle | Single | Single | Single | Single | Single | Single | Single | Single | Single | StartSingle | StartSingle | Single
Light control | Ljusstyrning | ItemLightControl | PhasePulse | DaliPhasePulseControl | PhasePulse | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | PhasePulse | ESenseActive | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | PhasePulse | ESenseActive | ESenseActive | DaliPhasePulseControl | DaliPhasePulseControl | PhasePulse | ESenseActive | PhasePulse | DaliPhasePulseControl | ESenseActive | PhasePulse | PhasePulse | DaliPhasePulseControl | ESenseActive | ESenseActive | PhasePulse | DaliPhasePulseControl | ESenseActive | DaliPhasePulseControl | PhasePulse | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | ESenseActive | DaliPhasePulseControl | PhasePulse | ESenseActive | PhasePulse | ESenseActive | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | ESenseOrganic | ESenseOrganic | PhasePulse | ESenseActive | PhasePulse | DaliPhasePulseControl | DaliPhasePulseControl | ESenseActive | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | DaliPhasePulseControl | ESenseActive | ESenseOrganic | ESenseOrganic | ESenseOrganic | ESenseOrganic | PhasePulse | ESenseActive | ESenseActive | PhasePulse | DaliPhasePulseControl | DaliPhasePulseControl | ESenseActive
Projected wind area, m2 | Projicerad vindyta | ItemProjectedwindarea
Tilt, ° | Tilt, ° | ItemTilt
Turn, ° | Vrid, ° | ItemTurnTilt
Class | Klass | ItemClass | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
IK rating | IK klass | ItemIkRating
IP rating | IP klass | ItemIpRating | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
| IP ovan undertak | ItemIPRating2
Corrosion class | Korrosionsklass | ItemCorrosionClass
Min. ambient temperature, °C | Min. omgivningstemp, °C | ItemMinimumAmbientTemperature | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | 0 | 0 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | 0 | 0 | 0 | 0 | -25 | -25 | -25 | -25 | -25 | -25 | -25
Max. ambient temperature, °C | Max. omgivningstemp, °C | ItemMaximumAmbientTemperature | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Brand of driver | Driverfabrikat | ItemProducerDriver | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Philips | Philips | Philips | Philips | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic | Tridonic
MCB B10A | MCB B10A | ItemMcbB10A | 13 | 6 | 13 | 6 | 13 | 6 | 13 | 13 | 13 | 13 | 13 | 6 | 13 | 6 | 6 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 6 | 6 | 6 | 6 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 6 | 6 | 6 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 6 | 6 | 13 | 6 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13
MCB B16A | MCB B16A | ItemMcbB16A | 22 | 11 | 22 | 11 | 22 | 11 | 22 | 22 | 22 | 22 | 21 | 11 | 22 | 11 | 11 | 22 | 21 | 22 | 21 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 21 | 22 | 22 | 21 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 11 | 11 | 11 | 11 | 21 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 11 | 11 | 11 | 21 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 11 | 11 | 22 | 11 | 21 | 22 | 22 | 21 | 21 | 21 | 21 | 22 | 22 | 22 | 22 | 22 | 22 | 22
MCB C10A | MCB C10A | ItemMcbC10A | 21 | 10 | 21 | 10 | 21 | 10 | 21 | 21 | 21 | 21 | 21 | 10 | 21 | 10 | 10 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 10 | 10 | 10 | 10 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 10 | 10 | 10 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 10 | 10 | 21 | 10 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
MCB C16A | MCB C16A | ItemMcbC16A | 36 | 18 | 36 | 18 | 36 | 18 | 36 | 36 | 36 | 36 | 35 | 18 | 36 | 18 | 18 | 36 | 35 | 36 | 35 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 35 | 36 | 36 | 35 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 18 | 18 | 18 | 18 | 35 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 18 | 18 | 18 | 35 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 18 | 18 | 36 | 18 | 35 | 36 | 36 | 35 | 35 | 35 | 35 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Switch control, max no. | Faspuls, max antal | ItemSwitchControlMaxNumber | 25 | 12 | 25 | 12 | 25 | 12 | 25 | 25 | 25 | 25 | 25 | 12 | 25 | 12 | 12 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 12 | 12 | 12 | 12 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 12 | 12 | 12 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 12 | 12 | 25 | 12 | 25 | 25 | 25 |  |  |  |  | 25 | 25 | 25 | 25 | 25 | 25 | 25
PWM, Hz | PWM Hz | ItemPWM
Power on last level | Minnesfunktion (i driftdon) | ItemPowerOnLastLevel | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True
Corridor function | Korridorfunktion | ItemCorridorFunction | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | NA | NA | NA | NA | True | True | True | True | True | True | True
Standby W | Stand-by W | ItemStandbyEffect | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.3 | 0.3 | 0.3 | 0.3 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
Rated supply voltage, V | Märkspänning, V | ItemRatedSupplyVoltage | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240 | 220-240
Mains frequency, Hz | Max frekvens, Hz | ItemMainsFrequency | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60 | 0, 50, 60
Potted driver | Fuktskyddad driver | ItemPottedDriver | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
ItemLightsourceEffect
W | W | ItemEffect
System wattage start, W | W (start) | ItemSystemStartEffect | 43 | 70 | 26 | 70 | 26 | 87 | 16 | 19 | 26 | 16 | 52 | 70 | 13 | 87 | 70 | 33 | 52 | 33 | 52 | 33 | 35 | 43 | 35 | 43 | 43 | 35 | 43 | 35 | 26 | 16 | 26 | 33 | 52 | 33 | 33 | 52 | 43 | 46 | 37 | 43 | 35 | 35 | 46 | 43 | 43 | 37 | 35 | 16 | 16 | 19 | 29 | 26 | 26 | 19 | 16 | 16 | 87 | 87 | 87 | 87 | 52 | 33 | 46 | 43 | 35 | 46 | 43 | 37 | 35 | 26 | 70 | 70 | 70 | 52 | 35 | 45 | 45 | 26 | 29 | 35 | 43 | 35 | 37 | 26 | 16 | 87 | 70 | 13 | 87 | 52 | 33 | 35 | 35 | 35 | 35 | 35 | 26 | 29 | 19 | 16 | 26 | 16 | 29
Average W | W (medel) | ItemAverageW | 45 | 73 | 27.5 | 73 | 27.5 | 90 | 17 | 20 | 27.5 | 17 | 55 | 73 | 17 | 90 | 73 | 35 | 55 | 35 | 55 | 35 | 37 | 48 | 37 | 45 | 45 | 37 | 48 | 37 | 27.5 | 18 | 27.5 | 35 | 55 | 35 | 35 | 55 | 45 | 47.5 | 38.5 | 45 | 37 | 37 | 48 | 45 | 45 | 38.8 | 37 | 17 | 17 | 20 | 30 | 27.5 | 27.5 | 20 | 17 | 17 | 90 | 90 | 90 | 90 | 55 | 35 | 47.5 | 45 | 37 | 48 | 45 | 38.8 | 37 | 27.5 | 73 | 73 | 73 | 55 | 37 | 47 | 47 | 27.5 | 30 | 37 | 45 | 37 | 38.5 | 27.5 | 18 | 90 | 73 | 17 | 90 | 55 | 35 | 37 | 37 | 37 | 37 | 37 | 27.5 | 30 | 20 | 17 | 27.5 | 17 | 30
End W | W (slut) | ItemEndW | 48 | 77 | 29 | 77 | 29 | 93 | 18 | 21 | 29 | 18 | 58 | 77 | 18 | 93 | 77 | 36 | 58 | 36 | 58 | 36 | 38 | 45 | 38 | 48 | 48 | 38 | 45 | 38 | 29 | 17 | 29 | 36 | 58 | 36 | 36 | 58 | 48 | 49 | 40 | 48 | 38 | 38 | 49 | 48 | 48 | 40 | 38 | 18 | 18 | 21 | 31 | 29 | 29 | 21 | 18 | 18 | 93 | 93 | 93 | 93 | 58 | 36 | 49 | 48 | 38 | 49 | 48 | 40 | 38 | 29 | 77 | 77 | 77 | 58 | 38 | 49 | 49 | 29 | 31 | 38 | 48 | 38 | 40 | 29 | 17 | 93 | 77 | 18 | 93 | 58 | 36 | 38 | 38 | 38 | 38 | 38 | 29 | 31 | 21 | 18 | 29 | 18 | 31
| THD, % | ItemTHD | 7 | 7 | 8 | 7 | 8 | 7 | 13 | 13 | 8 | 13 | 5 | 7 | 13 | 7 | 7 | 8 | 5 | 8 | 5 | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 13 | 8 | 8 | 5 | 8 | 8 | 5 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 13 | 13 | 13 | 8 | 8 | 8 | 13 | 13 | 13 | 7 | 7 | 7 | 7 | 5 | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 7 | 7 | 7 | 5 | 7 | 8 | 8 | 8 | 8 | 7 | 7 | 7 | 7 | 8 | 13 | 7 | 7 | 13 | 7 | 5 | 8 | 7 | 12 | 12 | 12 | 12 | 8 | 8 | 13 | 13 | 8 | 13 | 8
NTC function | NTC funktion | ItemNTCfunction | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Power factor, 100 % | Effektfaktor vid 100 % ljusflöde | ItemPowerFactor100 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.87 | 0.87 | 0.97 | 0.87 | 0.98 | 0.97 | 0.87 | 0.97 | 0.97 | 0.92 | 0.98 | 0.92 | 0.98 | 0.92 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.87 | 0.97 | 0.92 | 0.98 | 0.92 | 0.92 | 0.98 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.87 | 0.87 | 0.87 | 0.97 | 0.97 | 0.97 | 0.87 | 0.87 | 0.87 | 0.97 | 0.97 | 0.97 | 0.97 | 0.98 | 0.92 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.98 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.87 | 0.97 | 0.97 | 0.87 | 0.97 | 0.98 | 0.92 | 0.97 | 0.99 | 0.99 | 0.99 | 0.99 | 0.97 | 0.97 | 0.87 | 0.87 | 0.97 | 0.87 | 0.97
Power factor, 50 % | Effektfaktor vid 50 % ljusflöde | ItemPowerFactor50
Surge protection CM, kV/kA | Överspänningsskydd, CM, kV/kA | ItemSurgeProtectionCM | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Surge protection DM, kV/kA | Överspänningsskydd, DM, kV/kA | ItemSurgeProtectionDM | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Adapter | Adapter | ItemAdapter
AM | Am | ItemAM | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True
PWM | PWM | ItemPWM2 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Läckström | ItemCurrentLeakage
| SVM | ItemSVM |  | 12 | 25 |  | 25 |  | 25 |  | 25 | 25 | 25 |  | 25 |  |  | 25 | 25 | 25 | 25 | 25 |  |  |  | 25 |  | 25 |  |  | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | [11 empty] | 25 | 25 |  |  | 25 | 25 |  | 25 | 25 |  |  |  |  | 25 | 25 | [7 empty] | 25 |  | 12 |  | 25 |  | 25 | 25 | 25 |  |  |  | 25 |  | 25 | 25 |  |  | 25 |  | 25 | 25 | [5 empty] | 25 |  |  | 25 | 25 | 25
| PstLM | ItemPstLM
Light distribution | Ljusfördelning | ItemLightdistribution | Dir/ind. | Dir/ind. | Direct | Dir/ind. | Direct | Dir/ind. | Direct | Direct | Direct | Direct | Direct | Dir/ind. | Direct | Dir/ind. | Dir/ind. | Direct | Direct | Direct | Direct | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Direct | Direct | Direct | Direct | Direct | Direct | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Direct | Direct | Direct | Direct | Direct | Direct | Direct | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Direct | Dir/ind. | Dir/ind. | Direct | Dir/ind. | Direct | Direct | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Dir/ind. | Direct | Direct | Direct | Direct | Direct | Direct | Direct
Lumen output | Ljusflöde, lm | ItemLumenOutput | 6084 | 9332 | 3411 | 9332 | 3411 | 12168 | 2138 | 2090 | 3411 | 2138 | 6822 | 9600 | 2138 | 11828 | 9332 | 4276 | 7018 | 4400 | 6822 | 4276 | 4800 | 5914 | 4666 | 6084 | 6084 | 4800 | 5914 | 4666 | 3509 | 2200 | 3411 | 4276 | 7018 | 4400 | 4276 | 6822 | 6084 | 6084 | 4800 | 6084 | 4800 | 4800 | 5746 | 5914 | 5914 | 4560 | 4666 | 2200 | 2200 | 2200 | 3334 | 3411 | 3411 | 2090 | 2138 | 2138 | 12168 | 11828 | 12168 | 11828 | 7018 | 4400 | 6084 | 6084 | 4800 | 5746 | 5914 | 4560 | 4666 | 3509 | 9600 | 9600 | 9332 | 6822 | 4666 | 5914 | 6084 | 3509 | 3509 | 4666 | 5914 | 4800 | 4800 | 3509 | 2200 | 12168 | 9600 | 2138 | 11828 | 7018 | 4400 | 4666 | 4800 | 4666 | 4666 | 4800 | 3509 | 3509 | 2200 | 2200 | 3509 | 2200 | 3334
lm/W | lm/W | ItemlmW2 | 141 | 134 | 131 | 134 | 131 | 141 | 130 | 109 | 131 | 130 | 132 | 138 | 130 | 137 | 134 | 130 | 135 | 134 | 132 | 130 | 138 | 137 | 134 | 141 | 141 | 138 | 137 | 134 | 135 | 134 | 131 | 130 | 135 | 134 | 130 | 132 | 141 | 132 | 130 | 141 | 138 | 138 | 125 | 137 | 137 | 124 | 134 | 134 | 134 | 115 | 115 | 131 | 131 | 109 | 130 | 130 | 141 | 138 | 141 | 137 | 135 | 134 | 132 | 141 | 138 | 125 | 137 | 124 | 134 | 135 | 138 | 138 | 134 | 132 | 134 | 132 | 136 | 135 | 121 | 134 | 137 | 138 | 130 | 135 | 134 | 141 | 138 | 130 | 137 | 135 | 134 | 134 | 138 | 134 | 134 | 134 | 135 | 121 | 115 | 134 | 135 | 134 | 115
lm/m | lm/m | ItemlmM
Rf fidelity index | Rf fidelity index | ItemRfFidelityIndex
Rg gamut index | Rg gamut index | ItemRgGamutIndex
Lumen maintenance L70 B10, h | Bibehållning ljusflöde L70 B10, h | ItemLumenL70B10
Lumen maintenance L70 B50, h | Bibehållning ljusflöde L70 B50, h | ItemLumenL70B50
Lumen maintenance L80 B10, h | Bibehållning ljusflöde L80 B10, h | ItemLumenL80B10
Lumen maintenance L80 B50, h | Bibehållning ljusflöde L80 B50, h | ItemLumenL80B50
Lumen maintenance L90 B10, h | Bibehållning ljusflöde L90 B10, h | ItemLumenL90B10
Lumen maintenance L90 B50, h | Bibehållning ljusflöde L90 B50, h | ItemLumenL90B50
Lumen maintenance at 50.000 h | LLMF vid 50.000 timmar | ItemLumenMaintenance50000h | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Photometric code | Fotometrisk kod | ItemPhotometricCode
Life time LED driver max 10 % failure, h | Livslängd driver, h | ItemDriveLife | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10 | 100000/10
CLO function on | Konstant ljusflöde (CLO) | ItemCLO | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True | True
CLO time, h | CLO, h | ItemCloH | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
SDCM | SDCM | ItemSDCM | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Light source | Ljuskälla | ItemLightSource | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED |  |  | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED |  | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED | LED
CRI | Ra | ItemRa | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
CCT, K | CCT, K | ItemCCT | 4000 | 3000 | 3000 | 3000 | 3000 | 4000 | 3000 | 3000 | 3000 | 3000 | 3000 | 4000 | 3000 | 3000 | 3000 | 3000 | 4000 | 4000 | 3000 | 3000 | 4000 | 3000 | 3000 | 4000 | 4000 | 4000 | 3000 | 3000 | 4000 | 4000 | 3000 | 3000 | 4000 | 4000 | 3000 | 3000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 3000 | 3000 | 3000 | 3000 | 3000 | 4000 | 4000 | 4000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 4000 | 3000 | 4000 | 3000 | 4000 | 4000 | 4000 | 4000 | 4000 | 3000 | 3000 | 3000 | 3000 | 4000 | 4000 | 4000 | 3000 | 3000 | 3000 | 3000 | 4000 | 4000 | 4000 | 3000 | 3000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 3000 | 3000 | 4000 | 4000 | 3000 | 4000 | 3000 | 3000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 3000
Tunable White | Tunable White | ItemTw | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Tunable White colour range, K | Tunable White färgtemperaturintervall, K | ItemTwRange
RGB | RGB | ItemRGB | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Light Source Colour | Färg ljuskälla | ItemLightSourceColour
| Färgat ljus | ItemLedColor
No. of LEDs | Antal LEDs | ItemNoofLEDs
Beam angle, ° | Spridningsvinkel, ° | ItemDegrees
Luminance class | Lum.kod | ItemLuminanceClass
Number of light units | Antal ljusenheter | ItemNumberOfLightUnits
Light Emitting Surface | Ljusavgivande yta | ItemLightEmittingSurface
UGR | UGR | ItemUGR
| Bibehållning ljusflöde L100 B10, h | ItemLumenL100B10
Lumen maintenance L100 B50, h | Bibehållning ljusflöde L100 B50, h | ItemLumenL100B50 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
| 35 000 h | Item35kh
| 50 000 h | Item50kh |  |  | L100 |  | L100 |  |  | L100 | L100 | [19 empty] | L100 |  | L100 | [6 empty] | L100 | L100 |  |  |  | L100 |  |  | L100 |  |  |  | L100 | L100 | L100 | L100 | L100 | [8 empty] | L100 |  |  | L100 |  | L100 |  | L100 | [5 empty] | L100 | L100 | L100 | L100 |  |  |  | L100 | L100 | [7 empty] | L90 | L100 | L100 | L90 | L100 | L100 | L100 | L100 |  | L100 |  | L100
| 75 000 h | Item75kh |  |  | L85 |  | L85 |  |  | L86 | L85 | [19 empty] | L85 |  | L85 | [6 empty] | L86 | L86 |  |  |  | L86 |  |  | L86 |  |  |  | L86 | L86 | L85 | L85 | L86 | [8 empty] | L86 |  |  | L86 |  | L86 |  | L85 | [5 empty] | L86 | L86 | L85 | L86 |  |  |  | L86 | L85 | [7 empty] | L85 | L85 | L85 | L85 | L85 | L85 | L86 | L86 |  | L85 |  | L86
| 100 000 h | Item100kh |  |  | L81 |  | L81 |  |  | L81 | L81 | [19 empty] | L81 |  | L81 | [6 empty] | L81 | L81 |  |  |  | L81 |  |  | L81 |  |  |  | L81 | L81 | L81 | L81 | L81 | [8 empty] | L81 |  |  | L81 |  | L81 |  | L81 | [5 empty] | L82 | L82 | L81 | L81 |  |  |  | L81 | L81 | [7 empty] | L81 | L81 | L81 | L81 | L81 | L81 | L81 | L81 |  | L81 |  | L81
| Antal Dali-adresser | ItemNoDaliAddresses |  | 2 | 1 |  | 1 |  | 1 |  | 1 | 1 | 1 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 1 | 1 |  |  | 1 | 1 |  | 1 | 1 |  |  |  |  | 1 | 1 | [7 empty] | 1 |  | 2 |  | 1 |  |  |  | 1 |  |  |  | 1 |  | 1 | 1 |  |  | 1 |  | 1 | 1 | [5 empty] | 1 |  |  | 1 | 1 | 1
| Livslängd driver, 2h / % | ItemDriveLife2 |  | 100000/10 | [69 empty] | 100000/10
| DALI Device type driver | ItemDaliDevType
| DALI/generation | ItemDaliGen
Socket | Sockel | ItemSocket